## Phase-4
S:NO | PHASE | BUILDING | EQUIPMENT TAG | CURRENT SETPOINT | REQUEST TO CHANGE SETPOINT | REQUESTED PERSON | DATE | TIME | SETPOINT CHANGED BY

## Phase-3
S:NO | PHASE | BUILDING | EQUIPMENT TAG | CURRENT SETPOINT | REQUEST TO CHANGE SETPOINT | REQUESTED PERSON | DATE | TIME | SETPOINT CHANGED BY

## Phase-2
S:NO | PHASE | BUILDING | EQUIPMENT TAG | CURRENT SETPOINT | REQUEST TO CHANGE SETPOINT | REQUESTED PERSON | DATE | TIME | SETPOINT CHANGED BY

## Phase-1C
S:NO | PHASE | BUILDING | EQUIPMENT TAG | CURRENT SETPOINT | REQUEST TO CHANGE SETPOINT | REQUESTED PERSON | DATE | TIME | SETPOINT CHANGED BY
1 | P1C | FGL Basement | FCU-FGL-B2-098 | 24°C | 20°C | Mr. Ashok | 17/07/2024 | 10:00 | Md Kamal Hosen (BMS Operator)
2 | P1C | F01 | FCU-F01-03-110 | 21°C | 19°C | Mr. Maaz | 22/07/2024 | 11:00 | Md Kamal Hosen (BMS Operator)
3 | P1C | L23 | FCU-L23-05-118 | 28°C | 24°C | Mr. Ashok | 25/07/2024 | 11:00 | Md Kamal Hosen (BMS Operator)
4 | P1C | L23 | FCU-L23-04-096 | 28°C | 24°C | Mr. Ashok | 2024-07-08 | 10:00 | Md Kamal Hosen (BMS Operator)
5 | P1C | L23 | FCU-L23-02-049 | 28°C | 24°C | Mr. Antony | 2024-11-08 | 9:00 | Md Kamal Hosen (BMS Operator)
6 | P1C | F01 | FCU-F01-02-183 | 21°C | 20°C | Mr. Ashok | 2024-12-08 | 11:00 | Md Kamal Hosen (BMS Operator)
7 | P1C | FGL Basement | FCU-FGL-B1-050 | 30°C | 24°C | Mr. Ashok | 15/8/2024 | 10:00 | Md Kamal Hosen (BMS Operator)
8 | P1C | F01 | FCU-F01-01-035 | 28°C | 24°C | Mr. Antony | 16/8/2024 | 1:00 | Md Kamal Hosen (BMS Operator)
9 | P1C | F01 | FCU-F01-03-122 | 28°C | 24°C | Mr. Antony | 16/8/2024 | 1:00 | Md Kamal Hosen (BMS Operator)
10 | P1C | F01 | FCU-F01-01-050 | 28°C | 24°C | Mr. Antony | 16/8/2024 | 1:00 | Md Kamal Hosen (BMS Operator)
11 | P1C | F01 | FCU-F01-01-047 | 28°C | 24°C | Mr. Antony | 16/8/2024 | 1:00 | Md Kamal Hosen (BMS Operator)
12 | P1C | F01 | FCU-F01-01-032 | 28°C | 24°C | Mr. Antony | 16/8/2024 | 1:00 | Md Kamal Hosen (BMS Operator)
13 | P1C | F01 | FCU-F01-05-185 | 28°C | 24°C | Mr. Antony | 16/8/2024 | 1:00 | Md Kamal Hosen (BMS Operator)
14 | P1C | F01 | FCU-F01-05-186 | 28°C | 24°C | Mr. Antony | 16/8/2024 | 1:00 | Md Kamal Hosen (BMS Operator)
15 | P1C | FGL Basement | FCU-FGL-B2-153 | 30°C | 24°C | Mr. Antony | 16/8/2024 | 1:00 | Md Kamal Hosen (BMS Operator)
16 | P1C | FGL Basement | FCU-FGL-B2-152 | 30°C | 24°C | Mr. Antony | 16/8/2024 | 1:00 | Md Kamal Hosen (BMS Operator)
17 | P1C | FGL Basement | FCU-FGL-B2-151 | 30°C | 24°C | Mr. Antony | 16/8/2024 | 1:00 | Md Kamal Hosen (BMS Operator)
18 | P1C | FGL Basement | FCU-FGL-B2-148 | 30°C | 24°C | Mr. Antony | 16/8/2024 | 1:00 | Md Kamal Hosen (BMS Operator)
19 | P1C | FGL Basement | FCU-FGL-B2-154 | 30°C | 24°C | Mr. Antony | 16/8/2024 | 1:00 | Md Kamal Hosen (BMS Operator)
20 | P1C | FGL Basement | FCU-FGL-B2-150 | 30°C | 24°C | Mr. Antony | 16/8/2024 | 1:00 | Md Kamal Hosen (BMS Operator)
21 | P1C | FGL Basement | FCU-FGL-B3-147 | 30°C | 24°C | Mr. Antony | 16/8/2024 | 1:00 | Md Kamal Hosen (BMS Operator)
22 | P1C | G08 | FCU-G08-00-096 | 28°C | 24°C | Mr. Antony | 16/8/2024 | 1:00 | Md Kamal Hosen (BMS Operator)
23 | P1C | G08 | FCU-G08-00-097 | 28°C | 24°C | Mr. Antony | 16/8/2024 | 1:00 | Md Kamal Hosen (BMS Operator)
24 | P1C | G08 | FCU-G08-02-094 | 28°C | 24°C | Mr. Antony | 16/8/2024 | 1:00 | Md Kamal Hosen (BMS Operator)
25 | P1C | G08 | FCU-G08-02-095 | 28°C | 24°C | Mr. Antony | 16/8/2024 | 1:00 | Md Kamal Hosen (BMS Operator)
26 | P1C | G08 | FCU-G08-04-093 | 28°C | 24°C | Mr. Antony | 16/8/2024 | 1:00 | Md Kamal Hosen (BMS Operator)
27 | P1C | G08 | FCU-G08-04-092 | 28°C | 24°C | Mr. Antony | 16/8/2024 | 1:00 | Md Kamal Hosen (BMS Operator)
28 | P1C | G02 | FCU-G02-01-013 | 28°C | 24°C | Mr. Antony | 17/8/2024 | 9:20 | Md Kamal Hosen (BMS Operator)
29 | P1C | G02 | FCU-G02-03-035 | 28°C | 24°C | Mr. Antony | 17/8/2024 | 9:20 | Md Kamal Hosen (BMS Operator)
30 | P1C | G03 | FCU-G03-01-016 | 28°C | 24°C | Mr. Antony | 17/8/2024 | 9:20 | Md Kamal Hosen (BMS Operator)
31 | P1C | G03 | FCU-G03-03-027 | 28°C | 24°C | Mr. Antony | 17/8/2024 | 9:20 | Md Kamal Hosen (BMS Operator)
32 | P1C | G04 | FCU-G04-01-012 | 28°C | 24°C | Mr. Antony | 17/8/2024 | 9:20 | Md Kamal Hosen (BMS Operator)
33 | P1C | G04 | FCU-G04-03-028 | 28°C | 24°C | Mr. Antony | 17/8/2024 | 9:20 | Md Kamal Hosen (BMS Operator)
34 | P1C | L23 | FCU-L23-00-011 | 28°C | 24°C | Mr. Antony | 17/8/2024 | 9:20 | Md Kamal Hosen (BMS Operator)
35 | P1C | L23 | FCU-L23-01-032 | 28°C | 24°C | Mr. Antony | 17/8/2024 | 9:20 | Md Kamal Hosen (BMS Operator)
36 | P1C | L23 | FCU-L23-01-033 | 28°C | 24°C | Mr. Antony | 17/8/2024 | 9:20 | Md Kamal Hosen (BMS Operator)
37 | P1C | L23 | FCU-L23-01-035 | 28°C | 24°C | Mr. Antony | 17/8/2024 | 9:20 | Md Kamal Hosen (BMS Operator)
38 | P1C | L23 | FCU-L23-05-121 | 28°C | 24°C | Mr. Antony | 17/8/2024 | 9:20 | Md Kamal Hosen (BMS Operator)
39 | P1C | L23 | FCU-L23-05-120 | 28°C | 24°C | Mr. Antony | 17/8/2024 | 9:20 | Md Kamal Hosen (BMS Operator)

## Phase-1B
S:NO | PHASE | BUILDING | EQUIPMENT TAG | CURRENT SETPOINT | REQUEST TO CHANGE SETPOINT | REQUESTED PERSON | DATE | TIME | SETPOINT CHANGED BY

## Phase-1A
S:NO | PHASE | BUILDING | EQUIPMENT TAG | CURRENT SETPOINT | REQUEST TO CHANGE SETPOINT | REQUESTED PERSON | DATE | TIME | SETPOINT CHANGED BY